Supplementary material for Grönlund E, et al. Robust treatment planning of dose painting for prostate cancer based on ADC-to-Gleason score mappings – what is the potential to increase the tumor control probability? Acta Oncol….

Table A1. Objectives and constraints for optimization of DPBN plans. The CTVT minimum dose and the urethra maximum dose were optimized with minimax optimization to ensure geometrical robustness without the use of an extra margin. The convergence criteria for the optimizer were set to finish for relative changes in objective function value less than 1.0x10-7.

| VMAT 35 fractions |  |  |  |
| --- | --- | --- | --- |
| structures | objective | weighting factor | minimax optimization |
| CTVT-prostate | maximize TCP | 1 | Yes |
|  | D2% ≤ 95.0 Gy | Constraint | Yes |
|  | Dmean = 83.4 Gy | Constraint | Yes |
|  | D98% ≥ 77.0 Gy | Constraint | Yes |
| CTV-Vesicle | D2% ≤ 80.9 Gy | 100 | Yes |
|  | D98% ≥ 73.9 Gy | Constraint | Yes |
| PTVN-P | D2% ≤ 58.8 Gy | 100 | No |
|  | D98% ≥ 53.8 Gy | Constraint | No |
| PTVN-T | D2% ≤ 73.5 Gy | 100 | No |
|  | D98% ≥ 67.2 Gy | Constraint | No |
| Urethra | D0% ≤ 95.0 Gy | Constraint | Yes |
| Rectum | D15% ≤ 75.0 Gy | 5 | No |
|  | D20% ≤ 70.0 Gy | 5 | No |
|  | D25% ≤ 65.0 Gy | 5 | No |
|  | D35% ≤ 60.0 Gy | 5 | No |
|  | D50% ≤ 50.0 Gy | 5 | No |
|  | D55% ≤ 40.0 Gy | 5 | No |
| Shell of CTVT-PTVT | D1% ≤ 89.3 Gy | 2000 | Yes |
|  | D2% ≤ 87.6 Gy | 2000 | Yes |
|  | D50% ≤ 83.4 Gy | 2000 | Yes |
|  | D98% ≥ 72.5 Gy | 2000 | Yes |
| Bladder | D15% ≤ 80.0 Gy | 5 | No |
|  | D25% ≤ 75.0 Gy | 5 | No |
|  | D35% ≤ 70.0 Gy | 5 | No |
|  | D50% ≤ 65.0 Gy | 5 | No |
|  | D60% ≤ 50.0 Gy | 5 | No |
|  | D70% ≤ 40.0 Gy | 5 | No |
| Femoral head | D10% ≤ 50.0 Gy | 5 | No |
|  | D25% ≤ 45.0 Gy | 5 | No |
|  | D35% ≤ 30.0 Gy | 5 | No |
| Bowel bag | D195cm3 ≤ 45.0 Gy | 5 | No |
|  | D450cm3 ≤ 30.0 Gy | 5 | No |

Table A2. Average TCP increases for the 12 different setups of plan optimization.

| robustness distance | mapping of ADC→Gleason score | photon energy | average TCP increase |
| --- | --- | --- | --- |
| [cm] | Low precision (LP) or High precision (HP) | [MV] | [p.p] |
| 0.6 | LP | 15 | 2.5 |
| 0.6 | LP | 6 | 2.6 |
| 0.6 | HP | 15 | 3.7 |
| 0.6 | HP | 6 | 3.7 |
| 0.2 | LP | 15 | 3.7 |
| 0.2 | LP | 6 | 3.6 |
| 0.2 | HP | 15 | 5.2 |
| 0.2 | HP | 6 | 5.5 |
| 0.0 | LP | 15 | 5.5 |
| 0.0 | LP | 6 | 6.5 |
| 0.0 | HP | 15 | 8.1 |
| 0.0 | HP | 6 | 8.5 |