Supplementary data: Standard protocols and modified pregnant-woman protocol for both modalities, 18F-FDG PET and X-rays CT and the estimated reduction of fetal irradiation relatively to standard protocols.

	Imaging
Modality
	Standard
Protocol
	Pregnant-Woman Protocol
	Estimated of the foetal irradiation reduction in % of Standard Protocol

	18F-FDG PET
Injected radioactivity
MBq/kg bw*
	2.5 to 5
	1.5
	40 to 70%

	X-rays CT
Intensity (mAs)
Voltage (kV)
Cut (mm)
Pitch

	80
120
5
0.8
	35
120
5
0.8
	40 to 60%


* bw : Body Weight; mAs : milli Ampere second; kV : kilovolt; mm : millimeter; Pitch is unitless
