Supplementary Materials

Table A showing the characteristics of the treatment plans used for evaluation measurements of the theoretical simulation method and table B showing the tumor and plan characteristics for the cases that were used to study the effects of respiratory motion during stereotactic body radiation therapy of lung tumors.

|  |  | Plan name | TPS | Technique | Energy | Max MU/min | Total MU | Mean EAM | Max dose [Gy] |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Tumor motion | 10 mm | CA6FFF | E | CA | 6FFF | 1400 | 2307 | 0.47 | 22.3 |
|  |  | VMAT6X_RS | RS | VMAT | 6X | 600 | 2736 | 0.67 | 23.5 |
|  |  | VMAT6FFF | E | VMAT | 6FFF | 1400 | 5891 | 0.90 | 22.6 |
|  |  | VMAT6X | E | VMAT | 6X | 600 | 6444 | 0.88 | 22.5 |
|  | 30 mm | CA6FFF | E | CA | 6FFF | 1400 | 2332 | 0.43 | 22.6 |
|  |  | VMAT6X_RS | RS | VMAT | 6X | 600 | 2584 | 0.57 | 22.9 |
|  |  | VMAT6FFF | E | VMAT | 6FFF | 1400 | 5157 | 0.72 | 22.5 |
|  |  | VMAT6X | E | VMAT | 6X | 600 | 5694 | 0.77 | 22.7 |

Table A: The characteristics of the treatment plans used for evaluation measurements of the theoretical simulation method. The values for the total MU and maximum dose are presented per treatment fraction. The mean edge area metric (EAM) is a quantitative measure used to score the plan complexity. The treatment plannings system (TPS) used to create each plan is specified RS = Raystation, E = Eclipse.

| Patient | 3D tumor motion vector [mm] | GTV Volume [cm3] | Plan | Mean-EAM | Cycle time [s] |
| --- | --- | --- | --- | --- | --- |
| 1 | 7.3 | 23.4 | CA6FFF | 0.38 | 4.0* |
|  |  |  | VMAT6X_RS | 0.69 |  |
|  |  |  | VMAT6FFF | 0.84 |  |
|  |  |  | VMAT6X | 0.81 |  |
| 2 | 8.2 | 2.4 | CA6FFF | 0.54 | 4.0* |
|  |  |  | VMAT6X_RS | 0.76 |  |
|  |  |  | VMAT6FFF | 0.88 |  |
|  |  |  | VMAT6X | 0.88 |  |
| 3 | 8.7 | 10.9 | CA6FFF | 0.45 | 4.0* |
|  |  |  | VMAT6X_RS | 0.69 |  |
|  |  |  | VMAT6FFF | 0.84 |  |
|  |  |  | VMAT6X | 0.84 |  |
| 4 | 9.9 | 46.7 | CA6FFF | 0.36 | 4.3 |
|  |  |  | VMAT6X_RS | 0.53 |  |
|  |  |  | VMAT6FFF | 0.85 |  |
|  |  |  | VMAT6X | 0.84 |  |
| 5 | 11.2 | 4.4 | CA6FFF | 0.51 | 2.7 |
|  |  |  | VMAT6X_RS | 0.75 |  |
|  |  |  | VMAT6FFF | 0.89 |  |
|  |  |  | VMAT6X | 0.87 |  |
| 6 | 14.5 | 11.0 | CA6FFF | 0.38 | 3.3 |
|  |  |  | VMAT6X_RS | 0.56 |  |
|  |  |  | VMAT6FFF | 0.82 |  |
|  |  |  | VMAT6X | 0.82 |  |
| 7 | 15.6 | 3.5 | CA6FFF | 0.46 | 3.2 |
|  |  |  | VMAT6X_RS | 0.65 |  |
|  |  |  | VMAT6FFF | 0.83 |  |
|  |  |  | VMAT6X | 0.84 |  |
| 8 | 16.2 | 53.1 | CA6FFF | 0.31 | 4.0* |
|  |  |  | VMAT6X_RS | 0.50 |  |
|  |  |  | VMAT6FFF | 0.78 |  |
|  |  |  | VMAT6X | 0.77 |  |
| 9 | 17.7 | 2.0 | CA6FFF | 0.46 | 4.0* |
|  |  |  | VMAT6X_RS | 0.65 |  |
|  |  |  | VMAT6FFF | 0.86 |  |
|  |  |  | VMAT6X | 0.85 |  |
| 10 | 18.0 | 17.1 | CA6FFF | 0.46 | 4.4 |
|  |  |  | VMAT6X_RS | 0.64 |  |
|  |  |  | VMAT6FFF | 0.83 |  |
|  |  |  | VMAT6X | 0.83 |  |
| 11 | 19.5 | 0.7 | CA6FFF | 0.54 | 4.0* |
|  |  |  | VMAT6X_RS | 0.73 |  |
|  |  |  | VMAT6FFF | 0.84 |  |
|  |  |  | VMAT6X | 0.84 |  |
| 12 | 19.9 | 34.0 | CA6FFF | 0.35 | 4.6 |
|  |  |  | VMAT6X_RS | 0.54 |  |
|  |  |  | VMAT6FFF | 0.79 |  |
|  |  |  | VMAT6X | 0.83 |  |
| 13 | 23.2 | 5.4 | CA6FFF | 0.44 | 3.9 |
|  |  |  | VMAT6X_RS | 0.64 |  |
|  |  |  | VMAT6FFF | 0.84 |  |
|  |  |  | VMAT6X | 0.84 |  |
| 14 | 24.4 | 5.1 | CA6FFF | 0.48 | 4.0* |
|  |  |  | VMAT6X_RS | 0.63 |  |
|  |  |  | VMAT6FFF | 0.86 |  |
|  |  |  | VMAT6X | 0.84 |  |
| 15 | 27.4 | 64.7 | CA6FFF | 0.30 | 4.6 |
|  |  |  | VMAT6X_RS | 0.51 |  |
|  |  |  | VMAT6FFF | 0.70 |  |
|  |  |  | VMAT6X | 0.70 |  |

Table B: The tumor and plan characteristics for the cases that were used to study the effects of respiratory motion during stereotactic body radiation therapy of lung tumors. The cycle times marked with an asterisk (*) are fictive cycle times since the actual cycle times for these patients were not available.