| Supplement table 2. The Gamma pass ratio of for SPArc_seq and SPArc_orig using 3%, and 3mm criteria with threshold of 10% the prescription dose. |  |  |
| --- | --- | --- |
| Treatment Site | SPArc_Seq | SPArc_orig |
| Prostate | 100.00% | 99.60% |
| Lung | 97.40% | 98.60% |
| Brain | 100.00% | 99.80% |
| Head and Neck | 98.60% | 99.30% |
| Breast | 99.20% | 98.34% |
| Average | 99.04% | 99.13% |
| Standard Deviation | 1.09% | 0.63% |