Supplementary material

The homogeneity index (HI) for the PTV is defined as follows [15]:

HI = (D2% – D98%)/D50%

A small difference between the near maximum and minimum dose yields a low HI and good homogeneity.

A conformity index (CI) defined by Lomax et al. [16] was used with 95% as reference isodose. The index is defined as follows:

CI = V95%/TV95%

where V95% is the PTV volume covered by the 95% isodose and TV95% is the total volume of the 95% isodose. The CI ranges from 0 to 1, where 1 is the ideal value (perfect conformation) with no healthy tissue outside PTV receiving above 95% of the reference dose.

The results on volumes and breathing parameters have been shown previously [6]. In brief, the mean amplitude of the reflective marker movement during CT scanning, as measured with the RPM-system, was 18 mm (range 14.6 – 27 mm) during DIBH. The mean ipsilateral lung volume increased to almost double size during DIBH, from 1178 cm3 to 2165 cm3.

Supplementary 1

Planning criteria for PTV and organs at risk (OAR) in order of priority.

| Priority | Structure | Criterion | Description |
| --- | --- | --- | --- |
| 1 | PTV | V95% ≥ 95% | Minimum 95% of the PTV should be covered by the 95% isodose |
| 2 | Heart | V25Gy < 5% | The volume of the heart receiving 25 Gy should be below 5% |
| 3 | Heart | Dmean < 2 Gy | The mean dose to the heart should preferably be less than 2 Gy |
| 4 | Ips. lung | V20Gy < 15% | The volume of the ipsilateral lung receiving 20 Gy should be below 15%* |
| 5 | OAR | low | Dose to other OARs should be as low as possible |

* Norwegian national guidelines [14]

Supplementary 2A-F. Mean dose-volume histograms averaged for all 16 patients for the CTV and organs at risk with 3D-CRT in FB (dotted line), 3D-CRT in DIBH (solid line), tIMRT in DIBH (dashed line) and pVMAT in DIBH (mixed dashed and dotted line). DIBH, deep inspiration breath-hold; FB, free breathing; 3D-CRT, conventional three dimensional conformal radiotherapy; tIMRT, tangential IMRT; pVMAT, VMAT with partial arcs.

Supplementary 3.

Summary of treatment planning data for target volumes and organs at risk, for the 16 breast cancer patients included in this study, with deep inspiration breath-hold (DIBH), tangential IMRT (tIMRT) and VMAT with partial arcs (pVMAT). The prescription dose was 50 Gy in 2 Gy fractions.

|  | Free Breathing |  | Deep Inspiration Breath Hold |  |
| --- | --- | --- | --- | --- |
|  | 3D-CRTFB | 3D-CRTDIBH | tIMRT | pVMAT |
| Maximum point dose in body (%) | 107.3 ± 0.6 [106.0-108.3]* | 106.6 ± 0.7 [105.3-108.2] | 108.7 ± 1.4 [105.3-110.5]* | 108.0 ± 1.4 [105.3-109.7]* |
| CTV |  |  |  |  |
| Mean (%) | 100.3 ± 0.1 [100.1-100.5] | 100.2 ± 0.1 [100.0-100.4] | 100.5 ± 0.1 [100.4-100.9]* | 100.3 ± 0.1 [100.2-100.5]* |
| D2% (%) | 105.2 ± 0.5 [104.3-106.0]* | 104.9 ± 0.6 [104.3-106.1] | 104.0 ± 0.8 [103.0-106.1]* | 103.9 ± 0.9 [102.9-105.4]* |
| PTV, D2% (%) | 105.1 ± 0.5 [104.2-105.9]* | 105.0 ± 0.6 [104.2-106.2] | 103.9 ± 0.7 [103.0-105.9]* | 103.8 ± 0.9 [102.8-105.2]* |
| Heart |  |  |  |  |
| Number of patients with mean <2 Gy | 0 (0%) | 7 (44%) | 7 (44%) | 3 (19%) |
| Number of patients with V25Gy >5% | 3 (18.8%) | 1 (6.3%) | 0 (0%) | 0 (0%) |
| LAD, median V25Gy (%) | 28.8 ± 28.4 [0.0-90.3]* | 0.0 ± 19.4 [0.0-71.3] | 0.0 ± 11.2 [0.0-44.7]* | 0.0 ± 6.6 [0.0-26.4]* |
| Contralateral lung, mean dose (Gy) | 0.1 ± 0.1 [0.1-0.3] | 0.1 ± 0.0 [0.1-0.2] | 0.1 ± 0.1 [0.1-0.4] | 0.6 ± 0.3 [0.2-1.3]* |
| Contralateral breast, D2% (Gy) | 0.9 ± 0.9 [0.4-3.9] | 0.8 ± 0.5 [0.4-2.3] | 0.7 ± 0.6 [0.3-2.7]* | 6.6 ± 4.7 [1.8-19.0]* |

Data are shown as mean values with one standard deviation, and range in brackets. Most favourable value in deep inspiration breath hold is marked in bold.

* Significant difference (p<0.05) relative to 3D-CRTDIBH