| Structures | Value (Units) | ro-IMPT | SPArc | Relative difference to SPArc |
| --- | --- | --- | --- | --- |
|  |  |  |  | ro-IMPT |
| CTV | D98% (Gy [RBE] ) | 79.2 | 79.2 | - |
|  | AUC | 44.00±8.53 | 51.56±16.24 | 7.56 (p=0.220) |
| HI |  | 0.97±0.01 | 0.97±0.01 | 0.00 (p=0.347) |
| CI |  | 0.40±0.05 | 0.40±0.04 | 0.00 (p=0.934) |
| Rectum | V30 (%) | 36.58±9.64 | 24.45±5.30 | -12.13 (p=0.003) |
|  | V40 (%) | 30.72±8.49 | 18.92±4.53 | -11.79 (p=0.001) |
|  | V50 (%) | 24.27±8.00 | 14.01±3.63 | -10.26 (p=0.002) |
|  | V60 (%) | 17.87±7.44 | 10.49±2.91 | -7.38 (p=0.009) |
|  | V70 (%) | 11.62±5.44 | 6.43±2.10 | -5.19 (p=0.008) |
|  | V75 (%) | 7.98±4.54 | 4.23±1.58 | -3.75 (p=0.018) |
|  | Mean (Gy [RBE] ) | 26.72±6.28 | 19.40±3.67 | -7.32 (p=0.005) |
|  | AUC | 389.67±106.61 | 314.67±99.55 | -75.00 (p<0.001) |
| Bladder | V30 (%) | 36.02±20.78 | 26.89±17.86 | -10.75 (p=0.001) |
|  | V40 (%) | 31.33±19.25 | 22.69±15.71 | -9.95 (p=0.002) |
|  | V50 (%) | 26.21±17.26 | 17.69±12.23 | -9.75 (p=0.004) |
|  | V60 (%) | 20.55±13.85 | 13.90±10.04 | -7.65 (p=0.005) |
|  | V70 (%) | 13.88±9.42 | 10.39±8.29 | -4.16 (p=0.007) |
|  | V75 (%) | 12.20±8.06 | 9.05±6.70 | -3.15 (p=0.006) |
|  | Mean (Gy [RBE] ) | 25.91±14.59 | 18.29±12.43 | -7.36 (p=0.001) |
|  | AUC | 359.78±168.42 | 332.22±180.04 | -27.56 (p=0.010) |
| Skin | Max (Gy[RBE]) | 26.40±0.70 | 12.91±3.70 | -13.50 (p<0.001) |
|  | AUC | 17.78±2.68 | 24.00±3.91 | 6.22 (p=0.001) |
| Femoral heads | Mean (Gy [RBE] ) | 22.74±3.15 | 9.22±4.06 | -12.86 (p<0.001) |
|  | V30 (%) | 14.78±8.49 | 0.73±1.64 | -13.21 (p=0.002) |
|  | V20 (%) | 71.23±8.08 | 6.33±4.06 | -64.90 (p=0.002) |
|  | AUC | 131.67±13.87 | 77.89±19.06 | -53.78 (p<0.001) |
| Body integral dose | Relative to ro-IMPT | 1 | 0.89±0.07 | -11% (p=0.003) |
| Total Energy Layers |  | 30.00±3.84 | 171.33±16.16 | 141.33 (p<0.001) |
| Total Monitor Unit |  | 720.28±105.39 | 741.86±96.78 | 21.58 (p=0.452) |
| Average energy layers per control points |  | 15.00±1.92 | 2.38±0.22 | -12.62 (p<0.001) |
| Total Delivery time (5s) | (seconds) | 253.11±25.56 | 949.58±86.67 | 696.47 (p<0.001) |
| Total Delivery time (4s) | (seconds) | 224.22±22.25 | 778.14±73.00 | 553.92 (p<0.001) |
| Total Delivery time (3s) | (seconds) | 195.33±19.11 | 608.92±55.29 | 413.58 (p<0.001) |
| Total Delivery time (2s) | (seconds) | 166.44±16.23 | 438.58±40.17 | 272.14 (p<0.001) |
| Total Delivery time (1s) Total Delivery time (0.5s) | (seconds) | 137.56±13.79 | 268.25±26.32 | 130.70 (p<0.001) |
|  | (seconds) | 123.33±12.94 | 183.08±20.73 | 59.75 (p<0.001) |
| Total Delivery time (0.2s) | (seconds) | 114.22±12.55 | 131.94±18.23 | 17.72 (p=0.004) |
| Total Delivery time (0.1s) | (seconds) | 111.67±12.16 | 114.93±17.65 | 3.26 (p=0.656) |

Table 1. Target volume and OARs dosimetric parameters for ro-IMPT and SPArc.

Abbreviations:

CTV:  Clinical Target Volume; D98%: Minimum dose delivers to the 98% volume

Homogeneity Index: D5/D95; where D5 is the dose at 5% of the target volume and D95 is the dose at 95% of the target volume. The ideal value is 1 and it increases as the plan become less homogenous

Conformity Index is defined as the treated volume covered by the 95% isodose line divided by the total 95% isodose volume. It decreases as the plan become less conformal to the target.

Total Delivery time (5s): It is the total beam delivery time estimated from a proton machine with a 5s energy-layer switching time (ELST)

AUC: Area Under the Curve. This is a number to measure the plan robustness for a specific structure.