Supplementary:

Model Characteristics

The L10% (D > 54 Gy(RBE)) and L10% (D > 50 Gy(RBE)) were included in two univariate linear regression models giving an estimated risk of brainstem necrosis. The parameters were chosen for the models based on correlation with toxicity from conditional logistic regression analysis. The models are given by the two following equations:

NTCP54Gy(RBE)= -0.02 -0.13, 0.03+0.03⋅L10% D>54 GyRBE 0.00, 0.08   (A1)

NTCP50Gy(RBE)= 0.01 -0.08, 0.03+0.01⋅L10% D>50 GyRBE -0.00, 0.06   (A2)

The brackets in the equations show the confidence intervals in which the coefficients are defined. The data used to develop the models were in the ranges 2.33 to 3.80 keV/µm for the L10% (D > 54 Gy(RBE)) and between 2.45 and 4.29 keV/µm for the L10% (D > 50 Gy(RBE)). NTCP estimates for LETd-values outside these ranges may therefore be unreliable and, due to the linearity of the model, there is a lower L10%-threshold of applicablity for both models where the models will no longer output positive NTCP estimates.

Figure A1: LETd-distributions of the brainstem for an example patient in the cohort. Subfigure a) shows the LETd in the subvolume of the brainstem receiving dose over 54 Gy(RBE) for the reference plan in red and the LETd-optimised plan in blue with robustness scenarios shown as the slightly faded lines. Subfigure b) shows a similar figure except the brainstem volume receiving dose over 50 Gy(RBE) is shown instead.

Table A1: NTCP estimates, L10% and the absolute volume of the brainstem volume receiving dose over 54 Gy(RBE) to the left and over 50 Gy(RBE) to the right for each patient. The values from the TOPAS simulated plans, the delivered plan recalculated in Raystation with best and worst case robustness scenarios, and LETd-optimised plans with best and worst case robustness scenarios.

|  |  | D > 54 Gy(RBE) |  |  | D > 50 Gy(RBE) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | NTCP [%] | L10% [keV/µm] | Volume [cm3] | NTCP [%] | L10% [keV/µm] | Volume [cm3] |
| Patient 1 reference plan | TOPAS simulation | 10.3 [3.0, 19.8] | 4.1 | 0.26 | 5.0 [3.0, 16.1] | 4.01 | 7.79 |
|  | Nominal case | 11.3 [3.0, 22.4] | 4.43 | 0.27 | 5.4 [3.0, 18.5] | 4.42 | 8.20 |
|  | Worst case scenario | 11.5 [3.0, 23.1] | 4.51 | 0.57 | 5.7 [3.0, 20.1] | 4.68 | 10.08 |
|  | Best case scenario | 7.7 [3.0, 12.9] | 3.24 | 0.09 | 5.1 [3.0, 16.5] | 4.09 | 5.91 |
| Patient 1 LET-optimised plan | Nominal case | 6.5 [3.0, 9.7] | 2.84 | 0.27 | 4.2 [3.0, 11.4] | 3.24 | 8.08 |
|  | Worst case scenario | 9.5 [3.0, 17.8] | 3.85 | 8.27 | 5.2 [3.0, 17.2] | 4.19 | 10.30 |
|  | Best case scenario | 4.8 [3.0, 5.1] | 2.26 | 0.00 | 3.5 [3.0, 6.8] | 2.47 | 3.65 |
| Patient 2 reference plan | TOPAS simulation | 6.7 [3.0, 10.2] | 2.9 | 0.81 | 3.8 [3.0, 8.6] | 2.77 | 13.56 |
|  | Nominal case | 7.3 [3.0, 11.8] | 3.10 | 0.56 | 3.9 [3.0, 9.6] | 2.94 | 13.45 |
|  | Worst case scenario | 7.8 [3.0, 13.0] | 3.25 | 1.54 | 4.2 [3.0, 10.9] | 3.15 | 12.35 |
|  | Best case scenario | 6.3 [3.0, 9.1] | 2.77 | 0.40 | 3.8 [3.0, 8.7] | 2.79 | 14.56 |
| Patient 2 LET-optimised plan | Nominal case | 4.5 [3.0, 4.4] | 2.18 | 0.37 | 3.3 [3.0, 5.9] | 2.31 | 11.92 |
|  | Worst case scenario | 6.4 [3.0, 9.4] | 2.80 | 11.07 | 3.8 [3.0, 8.6] | 2.77 | 14.56 |
|  | Best case scenario | 3.8 [3.0, 2.4] | 1.92 | 0.00 | 3.0 [3.0, 4.0] | 2.00 | 8.39 |
| Patient 3 reference plan | TOPAS simulation | 6.7 [3.0, 10.2] | 3.1 | 0.62 | 4.5 [3.0, 12.7] | 3.45 | 13.68 |
|  | Nominal case | 7.6 [3.0, 12.5] | 3.19 | 0.00 | 4.6 [3.0, 13.9] | 3.64 | 13.29 |
|  | Worst case scenario | 8.5 [3.0, 15.0] | 3.50 | 0.01 | 4.9 [3.0, 15.3] | 3.89 | 14.78 |
|  | Best case scenario | 5.3 [3.0, 6.3] | 2.42 | 0.00 | 4.4 [3.0, 12.2] | 3.37 | 11.51 |
| Patient 3 LET-optimised plan | Nominal case | 3.4 [3.0, 1.5] | 1.81 | 0.00 | 3.3 [3.0, 5.8] | 2.30 | 11.09 |
|  | Worst case scenario | 7.3 [3.0, 11.7] | 3.09 | 12.79 | 4.5 [3.0, 12.8] | 3.47 | 14.35 |
|  | Best case scenario | 3.1 [3.0, 0.6] | 1.70 | 0.00 | 2.7 [3.0, 2.5] | 1.74 | 3.72 |
| Patient 4 reference plan | TOPAS simulation | 9.4 [3.0, 17.4] | 3.8 | 0.38 | 4.7 [3.0, 14.4] | 3.74 | 4.79 |
|  | Nominal case | 10.3 [3.0, 19.7] | 4.09 | 0 | 5.1 [3.0, 16.4] | 4.06 | 4.75 |
|  | Worst case scenario | 13.1 [3.0, 27.2] | 5.03 | 0.05 | 5.2 [3.0, 17.4] | 4.23 | 6.01 |
|  | Best case scenario | 8.3 [3.0, 14.6] | 3.45 | 0.00 | 4.9 [3.0, 15.1] | 3.86 | 3.24 |
| Patient 4 LET-optimised plan | Nominal case | -2.0 [3.0, -13.0] | 0.00 | 0.00 | 4.3 [3.0, 12.1] | 3.34 | 4.2 |
|  | Worst case scenario | 9.6 [3.0, 17.9] | 3.86 | 1.11 | 4.8 [3.0, 15.1] | 3.85 | 2.02 |
|  | Best case scenario | 4.8 [3.0, 5.3] | 2.28 | 0 | 4.0 [3.0, 10.1] | 3.01 | 4.85 |
| Patient 5 reference plan | TOPAS simulation | 6.7 [3.0, 10.2] | 2.9 | 0.44 | 3.9 [3.0, 9.2] | 2.86 | 10.78 |
|  | Nominal case | 7.1 [3.0, 11.1] | 3.02 | 0.25 | 4.1 [3.0, 10.3] | 3.06 | 10.73 |
|  | Worst case scenario | 8.6 [3.0, 15.3] | 3.54 | 0.74 | 4.3 [3.0, 11.7] | 3.29 | 9.75 |
|  | Best case scenario | 6.3 [3.0, 9.0] | 2.75 | 0.07 | 3.9 [3.0, 9.5] | 2.92 | 11.52 |
| Patient 5 LET-optimised plan | Nominal case | 5.7 [3.0, 7.5] | 2.56 | 0 | 3.4 [3.0, 6.6] | 2.43 | 9.39 |
|  | Worst case scenario | 6.8 [3.0, 10.4] | 2.92 | 3.67 | 3.8 [3.0, 8.9] | 2.82 | 12.56 |
|  | Best case scenario | 5.2 [3.0, 6.2] | 2.41 | 0 | 3.3 [3.0, 5.7] | 2.28 | 3.36 |
| Patient 6 Reference plan | TOPAS simulation | 8.8 [3.0, 15.8] | 3.6 | 0.02 | 4.3 [3.0, 12.0] | 3.34 | 5.92 |
|  | Nominal case | 7.4 [3.0, 12.1] | 3.14 | 0.02 | 4.5 [3.0, 13.0] | 3.51 | 5.62 |
|  | Worst case scenario | 7.6 [3.0, 12.7] | 3.21 | 0.09 | 5.0 [3.0, 16.0] | 4.00 | 6.46 |
|  | Best case scenario | 5.7 [3.0, 7.4] | 2.55 | 0 | 4.2 [3.0, 11.4] | 3.24 | 4.79 |
| Patient 6 LET-optimised plan | Nominal case | 7.8 [3.0, 13.1] | 3.27 | 0.01 | 4.2 [3.0, 11.0] | 3.17 | 5.56 |
|  | Worst case scenario | 8.6 [3.0, 15.4] | 3.55 | 4.42 | 4.9 [3.0, 15.1] | 3.85 | 7.08 |
|  | Best case scenario | 7.7 [3.0, 12.8] | 3.22 | 0.00 | 3.7 [3.0, 8.0] | 2.66 | 2.60 |
| Patient 7 reference plan | TOPAS | 10.0 [3.0, 19.0] | 4.0 | 3.34 | 5.2 [3.0, 17.4] | 4.24 | 8.16 |
|  | Nominal case | 10.7 [3.0, 20.9] | 4.24 | 3.81 | 5.6 [3.0, 19.8] | 4.63 | 8.38 |
|  | Worst case scenario | 11.7 [3.0, 23.6] | 4.57 | 4.77 | 5.9 [3.0, 21.5] | 4.92 | 10.05 |
|  | Best case scenario | 9.2 [3.0, 16.8] | 3.73 | 2.38 | 5.3 [3.0, 17.5] | 4.26 | 6.24 |
| Patient 7 LET-optimised plan | Nominal case | 6.5 [3.0, 9.6] | 2.83 | 0.01 | 4.3 [3.0, 11.6] | 3.26 | 6.98 |
|  | Worst case scenario | 9.0 [3.0, 16.2] | 3.65 | 3.79 | 4.9 [3.0, 15.5] | 3.91 | 8.58 |
|  | Best case scenario | 5.7 [3.0, 7.6] | 2.58 | 0.00 | 3.9 [3.0, 9.4] | 2.90 | 3.36 |