## Blad1
Supplementary material has been published as submitted. It has not been copyedited, or typeset by Acta Oncologica
Department | Model | Field strength (T) | Sequence | B-values (s/mm2) | TR (ms) | TE (ms) | Acquisition matrix | FOV | Slice thickness (mm) | Interslice gap (mm) | DWI acquisition time (min,sek) | NEX | Comment
1 | MAGNETOM Avanto Fit | 1.5 | 2D EPI | 100, 450,800 | 3400 | 64 | 86*74 | 154*180 | 4 | 0 | 2:52 | 5
1 | MAGNETOM Avanto Fit | 1.5 | 2D EPI | 1500 | 5800 | 65 | 128*122 | 250*250 | 4 | 0 | 4:23 | 10 | acquired b 1500
1 | MAGNETOM Vida Fit | 3 | ZoomIT | 50, 500, 800 | 4300 | 68 | 114*58 | 101*199 | 3 | 0 | 4:54 | 10 | calculated b1400
2 | MAGNETOM Aera | 1.5 | 2D EPI | 100, 450, 800 | 3800 | 64 | 86*74 | 154*180 | 4 | 0 | 3:12 | 8
2 | MAGNETOM Aera | 1.5 | 2D EPI | 1500 | 5800 | 65 | 128*122 | 250*250 | 4 | 0 | 4:23 | 10 | acquired b 1500
3 | MAGNETOM Avanto Fit | 1.5 | 2D EPI | 50, 1000 | 3300 | 62 | 128*128 | 240*240 | 3 | 0 | 3:18 | 16 | calculated b1500
4 | MAGNETOM Vida Fit | 3 | Resolve | 50, 250, 800 | 4970 | 53 | 128*128 | 200*200 | 3 | 0 | 8:33 | 3 | calculated b1500
5 | MAGNETOM Prisma | 3 | Resolve | 50, 800 | 4070 | 52 | 116*116 | 200*200 | 3.5 | 0 | 7:01 | 4 | calculated b1500
6 | MAGNETOM Aera | 1.5 | 2D EPI | 100, 450, 800 | 3500 | 64 | 86*74 | 154*180 | 4 | 0 | 2:57 | 8
6 | MAGNETOM Aera | 1.5 | 2D EPI | 1500 | 5800 | 65 | 128*122 | 250*250 | 4 | 0 | 4:23 | 10 | acquired b 1500
7 | MAGNETOM Avanto Fit | 1.5 | 2D EPI | 50, 300, 100 | 5500 | 62 | 128*128 | 272*272 | 3 | 0 | 10:11 | 16 | calculated b1500
8 | MAGNETOM Avanto Fit | 1.5 | Resolve | 50, 800 | 4620 | 58 | 116*116 | 200*200 | 4 | 0 | 6:25 | 3
8 | MAGNETOM Avanto Fit | 1.5 | 2D EPI | 1500 | 3300 | 67 | 128*128 | 240*240 | 3 | 0 | 3:08 | 18
5 | MAGNETOM Vida Fit | 3 | Resolve | 50, 800 | 5290 | 58 | 118*118 | 200*200 | 3 | 0 | 7:21 | 3 | calculated b1500